## Flow Test Equipment
Item Number | Name | Weight | Contractor
FLOW TEST EQUIPMENT
RIPTIDE WATER FLOW TESTING EQUIPMENT
6510920 | Riptide Single Action Water Diffuser Water Diffuser with Built In Pitot | 32 | 1400
6510921 | Riptide Double Action Water Diffuser Water Diffuser with Built In Pitot | 40 | 2600
6510922 | Riptide Triple Action Water Diffuser Water Diffuser with Built In Pitot | 47 | 3700
6510924 | Riptide Quad Action Water Diffuser with Built In Pitot | 53 | 4700
6510925 | Riptide LDH Single Action Water Diffuser for 4" Hose with Built In Pitot | 41 | 1500
6510926 | Riptide Typhoon Remote Manifold | 25 | 1875
6510927 | Single Action Riptide with Hydra-Tap FDC Check Valve Tool | 47 | 2299
6510928 | Riptide Typhoon Remote Manifold - Tubing Assembly Only | 13 | 975
6510929 | Riptide Typhoon Remote Manifold - Manifold Only | 7 | 440
6510930-L | Riptide Glycerin Filled Calibrated Left Hand Gauge with Certificate | 1.5 | 165
6510930-R | Riptide Glycerin Filled Calibrated Right Hand Gauge with Certificate | 1.5 | 165
6510935 | Riptide 1.75" Reduced Orifice Insert for LDH (Fits Riptide LDH Diffusers only) | 2 | 310
6510936 | Riptide 1.125" Reduced Orifice Insert for LDH (Fits Riptide LDH Diffusers only) | 2 | 310
6510937 | Riptide 3.25" Reduced Orifice Insert for LDH (Fits Riptide LDH Diffusers only) | 2 | 695
6510940 | Riptide Levelling Table with Adjustable Feet | 13 | 199
6510941 | Riptide Spanner Wrench for Pitot Tuning | 1 | 250
6510942 | Riptide 2.5" Pitot Alignment Tool | 2 | 210
6510943 | Riptide 4" Pitot Alignment Tool | 3 | 325
6510945 | Riptide Replacement Pitot for 2.5" Hose Connection | 0.5 | 119
6510946 | Riptide Replacement Pitot for 4" Hose Connection | 0.5 | 149
6510947 | Riptide Replacement Coupling for 2.5" Hose Connection | 3 | 160
6510948 | Riptide Replacement Coupling for 4" Hose Connection | 4 | 387
6510949 | Riptide Rubber Foot Kit | 0.5 | 20
6510950 | Riptide Replacement Cam Locks with hardware | 0.5 | 25
6510951 | Riptide JETSTREAM Flow Tube Assembly for Open Atmosphere Flow Testing | 10 | 669
6510952 | Riptide JETSTREAM Flow Tube Assembly for Open Atmosphere Flow Testing(4") | 12 | 745
6510953 | Riptide .25" Quick Connect Assembly | 0.5 | 15
6510954 | Riptide .25" Ball Valve | 0.5 | 16
6510955 | Riptide .25" Push Connect | 0.5 | 16
6510956 | Riptide .25" Street 90* | 0.5 | 16
6510957 | Riptide Velcro Straps | 0.5 | 16
6510960 | Riptide DECHLOR Dechlorination Attachment | 3 | 545
6510960A | Riptide DECHLOR Dechlorination TABLETS | 1 | 132.09
6510970 | Riptide ALX Single Action Water Diffuser with built in pitot | 17 | 1450
6510971 | Riptide ALX Double Action Water Diffuser with built in pitot | 23 | 2850
6510972 | Riptide ALX Triple Action Water Diffuser with built in pitot | 29 | 4275
6510974 | Riptide ALX Quad Action Water Diffuser with built in pitot | 33 | 5700
6510975 | Riptide ALX Single Action LDH Water Diffuser for 4" Hose with Built In Pitot | 25 | 1500
6510976 | Riptide ALX Pitotless Waterway 1 875" |  | 772.58
6510977 | Riptide ALX Pitotless Waterway 1.625" |  | 772.58
6510978 | Riptide ALX Pitotless Waterway 1.125" |  | 772.58
6510979 | Riptide ALX Pitotless Waterway Case (Optional, Fits any 1) |  | 107.4
6510999 | Riptide ALX Dechlor Accessory |  | 706.2
6510980 | Riptide ALX 2.5" Receiver Kit | 3 | 495
6510981 | Riptide ALX Pin Lock | 0.25 | 89
6510982 | Riptide ALX 2.5" Waterway Assembly | 3 | 665
6510983 | Riptide ALX Cleats (x8) | 0.5 | 30
6510984 | Riptide ALX 4" Reciever Kit | 3 | 695
6510985 | Riptide ALX Replacement Pitot for 2.5" Hose Connection | 0.5 | 239
6510986 | Riptide ALX Replacement Pitot for 4" Hose Connection | 0.5 | 249
6510987 | Riptide ALX 4" Waterway Assembly | 7 | 729
6510988 | Riptide ALX Pin Lock Spacer | 0.25 | 25
6510911-2000 | Riptide PRV Kit 2" |  | 3495
6510911-1750 | Riptide PRV Kit 1.75" |  | 3495
6510911-1250 | Riptide PRV Kit 1.125 |  | 3495
6510914 | Gate Valve 2.5" |  | 699.78
6510910-2000 | Riptide PRV 2" (Venturi Only) |  | 1090.38
6510910-1750 | Riptide PRV 1.75" (Venturi Only) |  | 1090.38
6510910-1250 | Riptide PRV 1.125" (Venturi Only) |  | 1090.38
6510912 | Riptide PRV Manometer Complete (Comes w/ NIST cal.) |  | 1747.89
6510912A | Riptide PRV Manometer Tubing Kit |  | 49.32
6510912B | Riptide PRV Manometer Calibration (Service) |  | 175
6510913 | Riptide PRV Case + Foam |  | 542.45
6510995 | Riptide Quick 90 (For ALX Pitotless Only) |  | 43.83
3099140 | HYDRA-TAP FDC Check Valve Clapper Flow Tool | 13 | 699
3099141 | SpyCam Articulating Pipe & Valve Inspection Camera | 2 | 319.5