## FS Riser Assemblies
Price Book Date: | 2025-11-21
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
RISER MANIFOLDS
RISER MANIFOLD- RESIDENTIAL
6520350-0100 | System Sensor Residential Riser 1" w/ Base Trim | 378.27 | 283.7 | 257.22 |  |  | 9.3
6520350-0125 | System Sensor Residential Riser 1-1/4" w/ Base Trim | 382.07 | 286.55 | 259.81 |  |  | 10.2
6520350-0150 | System Sensor Residential Riser 1-1/2" w/ Base Trim | 384.45 | 288.34 | 261.43 |  |  | 10.8
6520350-0200 | System Sensor Residential Riser 2" w/ Base Trim | 390.68 | 293.01 | 265.66 |  |  | 12.5
6520351-0100 | System Sensor Residential Riser 1" w/ Pressure Relief | 408.12 | 306.09 | 277.52 |  |  | 11.1
6520351-0125 | System Sensor Residential Riser 1-1/4" w/ Pressure Relief | 411.93 | 308.95 | 280.11 |  |  | 12
6520351-0150 | System Sensor Residential Riser 1-1/2" w/ Pressure Relief | 414.33 | 310.75 | 281.74 |  |  | 12.6
6520351-0200 | System Sensor Residential Riser 2" w/ Pressure Relief | 420.55 | 315.41 | 285.97 |  |  | 14.3
6520352-0100 | System Sensor Residential Riser 1" w/ T&D Valve | 435.64 | 326.73 | 296.24 |  |  | 10.9
6520352-0125 | System Sensor Residential Riser 1-1/4" w/ T&D Valve | 439.45 | 329.59 | 298.83 |  |  | 11.6
6520352-0150 | System Sensor Residential Riser 1-1/2" w/ T&D Valve | 441.83 | 331.37 | 300.44 |  |  | 12.3
6520352-0200 | System Sensor Residential Riser 2" w/ T&D Valve | 448.05 | 336.04 | 304.67 |  |  | 13.9
6520353-0100 | System Sensor Residential Riser 1" w/ Pressure Relief and T&D | 458.94 | 344.21 | 312.08 |  |  | 12.5
6520353-0125 | System Sensor Residential Riser 1-1/4" w/ Pressure Relief and T&D | 462.75 | 347.06 | 314.67 |  |  | 13.4
6520353-0150 | System Sensor Residential Riser 1-1/2" w/ Pressure Relief and T&D | 465.12 | 348.84 | 316.28 |  |  | 14.1
6520353-0200 | System Sensor Residential Riser 2" w/ Pressure Relief and T&D | 471.35 | 353.51 | 320.52 |  |  | 15.7
6520370-0100 | Potter Residential Riser 1" w/ Base Trim | 392.62 | 294.47 | 266.98 | 2 |  | 9.2
6520370-0125 | Potter Residential Riser 1-1/4" w /Base Trim | 396.08 | 297.06 | 269.33 | 2 |  | 9.5
6520370-0150 | Potter Residential Riser 1-1/2" w /Base Trim | 398.16 | 298.62 | 270.75 | 2 |  | 9.9
6520370-0200 | Potter Residential Riser 2" w/ Base Trim | 406.6 | 304.95 | 276.49 | 2 |  | 10.9
6520371-0100 | Potter Residential Riser 1" w /Pressure Relief | 417.5 | 313.13 | 283.9 | 2 |  | 10.5
6520371-0125 | Potter Residential Riser 1-1/4" w/ Pressure Relief | 420.96 | 315.72 | 286.25 | 2 |  | 10.8
6520371-0150 | Potter Residential Riser 1-1/2" w /Pressure Relief | 423.04 | 317.28 | 287.67 | 2 |  | 11.2
6520371-0200 | Potter Residential Riser 2" w/ Pressure Relief | 428.8 | 321.6 | 291.58 | 2 |  | 12.2
6520372-0100 | Potter Residential Riser 1" w/ T&D Valve | 448.32 | 336.24 | 304.86 | 2 |  | 10.6
6520372-0125 | Potter Residential Riser 1-1/4" w/ T&D Valve | 451.78 | 338.84 | 307.21 | 2 |  | 10.9
6520372-0150 | Potter Residential Riser 1-1/2" w/ T&D Valve | 453.86 | 340.4 | 308.62 | 2 |  | 11.3
6520372-0200 | Potter Residential Riser 2" w/ T&D Valve | 459.62 | 344.72 | 312.54 | 2 |  | 12.3
6520373-0100 | Potter Residential Riser 1" w/ Pressure Relief and T&D | 473.2 | 354.9 | 321.78 | 2 |  | 10.5
6520373-0125 | Potter Residential Riser 1-1/4" w/ Pressure Relief and T&D | 476.66 | 357.5 | 324.13 | 2 |  | 10.8
6520373-0150 | Potter Residential Riser 1-1/2" w/ Pressure Relief and T&D | 481.42 | 361.07 | 327.37 | 2 |  | 11.2
6520373-0200 | Potter Residential Riser 2" w/ Pressure Relief and T&D | 484.52 | 363.39 | 329.47 | 2 |  | 12.2
RISER MANIFOLD- COMMERCIAL
6520355-0200 | System Sensor Riser Manifold Grooved 2" w/ T&D Valve | 595.94 | 446.96 | 405.24 |  |  | 12.7
6520355-0250 | System Sensor Riser Manifold Grooved 2-1/2" w/ T&D Valve | 606.5 | 454.88 | 412.42 |  |  | 14.7
6520355-0300 | System Sensor Riser Manifold Grooved 3" w/ T&D Valve | 610.39 | 457.79 | 415.07 |  |  | 15.9
6520355-0400 | System Sensor Riser Manifold Grooved 4" w/ T&D Valve | 711.7 | 533.78 | 483.96 |  |  | 25.1
6520355-0600 | System Sensor Riser Manifold Grooved 6" w/ T&D Valve | 737.09 | 552.82 | 501.22 |  |  | 35.5
6520355-0800 | System Sensor Riser Manifold Grooved 8" w/ T&D Valve | 820.53 | 615.4 | 557.96 |  |  | 36.2
6520357-0200 | System Sensor Riser Manifold Grooved 2" w/ Pressure Relief | 625.61 | 469.21 | 425.41 |  |  | 14.5
6520357-0250 | System Sensor Riser Manifold Grooved 2-1/2" w/ Pressure Relief | 639.87 | 479.9 | 435.11 |  |  | 16.9
6520357-0300 | System Sensor Riser Manifold Grooved 3" w/ Pressure Relief | 643.76 | 482.82 | 437.76 |  |  | 18.1
6520357-0400 | System Sensor Riser Manifold Grooved 4" w/ Pressure Relief | 752.07 | 564.05 | 511.41 |  |  | 28.2
6520357-0600 | System Sensor Riser Manifold Grooved 6" w/ Pressure Relief | 777.44 | 583.08 | 528.66 |  |  | 45
6520357-0800 | System Sensor Riser Manifold Grooved 8" w/ Pressure Relief | 860.9 | 645.68 | 585.41 |  |  | 52.92
6520355-0200C | System Sensor Riser Manifold Grooved 2" w/ T&D, Bronze Butterball & Check Valve + 4 Couplings | 836.77 | 627.58 | 569 |  |  | 33
6520355-0250C | System Sensor Riser Manifold Grooved 2-1/2" w/ T&D, Butterfly & Check Valve + 4 Couplings | 796.31 | 597.23 | 541.49 |  |  | 49.72
6520355-0300C | System Sensor Riser Manifold Grooved 3" w/ T&D, Butterfly & Check Valve + 4 Couplings | 823.26 | 617.45 | 559.82 |  |  | 55.25
6520355-0400C | System Sensor Riser Manifold Grooved 4" w/ T&D, Butterfly & Check Valve + 4 Couplings | 980.39 | 735.29 | 666.67 |  |  | 79.9
6520355-0600C | System Sensor Riser Manifold Grooved 6" w/ T&D, Butterfly & Check Valve + 4 Couplings | 1187.36 | 890.52 | 807.4 |  |  | 127.88
6520355-0800C | System Sensor Riser Manifold Grooved 8" w/ T&D, Butterfly & Check Valve + 4 Couplings | 1540 | 1155 | 1047.2 |  |  | 219.12
6520356-0200 | Potter Riser Manifold Grooved 2" w/ Test & Drain Valve | 616.78 | 462.59 | 419.41 |  |  | 13.6
6520356-0250 | Potter Riser Manifold Grooved 2-1/2" w/ Test & Drain Valve | 626.38 | 469.79 | 425.94 |  |  | 16
6520356-0300 | Potter Riser Manifold Grooved 3" w/ Test & Drain Valve | 629.92 | 472.44 | 428.35 |  |  | 17.4
6520356-0400 | Potter Riser Manifold Grooved 4" w/ Test & Drain Valve | 722.04 | 541.53 | 490.99 |  |  | 27.7
6520356-0600 | Potter Riser Manifold Grooved 6" w/ Test & Drain Valve | 743.24 | 557.43 | 505.4 |  |  | 35.1
6520358-0200 | Potter Riser Manifold Grooved 2" w/ Pressure Relief | 636.1 | 477.08 | 432.55 |  |  | 15
6520358-0250 | Potter Riser Manifold Grooved 2-1/2" w/ Pressure Relief | 649.06 | 486.8 | 441.36 |  |  | 17.7
6520358-0300 | Potter Riser Manifold Grooved 3" w/ Pressure Relief | 652.6 | 489.45 | 443.77 |  |  | 19.1
6520358-0400 | Potter Riser Manifold Grooved 4" w/ Pressure Relief | 751.06 | 563.3 | 510.72 |  |  | 30.4
6520358-0600 | Potter Riser Manifold Grooved 6" w/ Pressure Relief | 774.12 | 580.59 | 526.4 |  |  | 38.1
6520361 | Pressure Relief Kit (1" thru 2" Residential, 2" Commercial) | 30.16 | 22.62 | 20.51 |  |  | 1.92
6520362 | Pressure Relief Kit (2-1/2" & 3" Commercial) | 33.79 | 25.34 | 22.98 |  |  | 2.29
6520363 | Pressure Relief Kit (4" & 6" Commercial) | 40.48 | 30.36 | 27.53 |  |  | 3.26
STAINLESS STEEL FLEXIBLE DRAIN HOSE KITS FOR RISER ASSEMBLIES
Includes two Threaded x Grooved Nipples, two Grooved Couplings, FLEX DRAIN GxG Hose 31-½"
6532002 | 1" Flex Drain Kit (For 1" - 2" Risers) | 75.93 | 56.95 | 51.63 |  |  | 3.78
6532003 | 1-1/4" Flex Drain Kit (For 2-1/2" - 3" Risers) | 87.33 | 65.5 | 59.38 |  |  | 6.05
6532005 | 2" Flex Drain Kit (For 4" - 8" Risers) | 130.32 | 97.74 | 88.62 |  |  | 9.75
TEST & DRAIN VALVES
6520181 | Test & Drain Valve 1" 5.6K (UL/FM) | 79.38 | 59.54 | 53.98 | 6 | 384 | 2.5
6520182-150 | Test & Drain Valve 1-1/2" 5.6K (UL/FM) | 157.3 | 117.98 | 106.96 | 6 | 288 | 8.05
6520182 | Test & Drain Valve 1-1/4" 5.6K (UL/FM) | 81.09 | 60.82 | 55.14 | 6 | 384 | 2.5
6520182-200 | Test & Drain Valve 2" 5.6K (UL/FM) | 162.95 | 122.21 | 110.81 | 4 | 96 | 6.65
6520181-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1" | 37.82 | 28.37 | 25.72 | 6 |  | 3.5
6520182-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/4" | 54.87 | 41.15 | 37.31 | 6 |  | 3.5
6520182-150-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/2" | 53.7 | 40.28 | 36.52 | 6 |  | 6
6520182-200-PRVKIT | Pressure Relief Kit for Test & Drain Valve 2" | 72.58 | 54.44 | 49.35 | 6 |  | 7.5
6520181-PRV | Test & Drain Valve 1" w/ Pressure Relief (UL/FM) | 122.5 | 91.88 | 83.3 | 6 |  | 3.5
6520182-PRV | Test & Drain Valve 1-1/4" w/ Pressure Relief (UL/FM) | 135.96 | 101.97 | 92.45 | 6 |  | 6
6520182-150-PRV | Test & Drain Valve 1-1/2" w/ Pressure Relief (UL/FM) | 218.53 | 163.9 | 148.6 | 6 |  | 6
6520182-200-PRV | Test & Drain Valve 2" w/ Pressure Relief (UL/FM) | 245.67 | 184.25 | 167.06 | 6 |  | 11.25
RISER CHECK VALVE G X G
6520310 | Riser Check Valve 2" (shotgun) GxG | 88.99 | 66.74 | 60.51 | 4 |  | 7.94
6520311 | Riser Check Valve 2-1/2" (shotgun) GxG | 90.88 | 68.16 | 61.8 | 4 |  | 8.16
6520312 | Riser Check Valve 3" (shotgun) GxG | 109.32 | 81.99 | 74.34 | 4 |  | 10.37
6520313 | Riser Check Valve 4" (shotgun) GxG | 131.78 | 98.84 | 89.61 | 2 |  | 16.98
6520314 | Riser Check Valve 6" (shotgun) GxG | 255.73 | 191.8 | 173.9 | 2 |  | 42.35
6520314A | Riser Check Valve 8" (shotgun) GxG | 378.09 | 283.57 | 257.1 | 2 |  | 66.14
TRIM FOR RISER CHECK VALVE
6520315 | Trim for 2" Riser Check Valve (shotgun) | 70.73 | 53.05 | 48.1 |  |  | 4.24
6520316 | Trim for 2-1/2", 65MM, & 3" Riser Check Valve (shotgun) | 81.55 | 61.16 | 55.45 |  |  | 4.6
6520317 | Trim for 4" Riser Check Valve (shotgun) | 121.59 | 91.19 | 82.68 |  |  | 7.96
6520318 | Trim for 6", 8" & 150MM Riser Check Valve (shotgun) | 125.53 | 94.15 | 85.36 |  |  | 7.3
FIRE SPRINKLER GAUGES
PLASTIC BACK GAUGES
6510160 | Fire Sprinkler Gauge 300# Air/Water (UL/FM) USA | 12.45 | 9.34 | 8.47 | 60 | 720 | 0.47
6510161 | Fire Sprinkler Gauge 300# Water (UL/FM) USA | 12.45 | 9.34 | 8.47 | 60 | 720 | 0.47
6510162 | Fire Sprinkler Gauge 0-80-250# Air w/ Retard (UL/FM) USA | 12.45 | 9.34 | 8.47 | 60 | 720 | 0.47
6510163 | Fire Sprinkler Gauge 300# Air 1/4" NPT (UL/FM) USA | 12.45 | 9.34 | 8.47 | 60 | 720 | 0.47
STEEL BACK GAUGES
6510162STL | Fire Sprinkler Gauge 250# Air w/ Retard Steel (UL/FM) USA | 15.31 | 11.48 | 10.41 | 60 |  | 0.7
6510164STL | Fire Sprinkler Gauge 300# Air/Water Steel Back (UL/FM) USA | 15.31 | 11.48 | 10.41 | 60 |  | 0.7
6510165STL | Fire Sprinkler Gauge 300# Water Steel Back (UL/FM) USA | 15.31 | 11.48 | 10.41 | 60 |  | 0.7
6510166STL | Fire Sprinkler Gauge 300# Air Steel Back (UL/FM) USA | 15.31 | 11.48 | 10.41 | 60 |  | 0.7
THREE WAY VALVE
6520190 | 3 Way Gauge Valve 1/4" | 7.26 | 5.45 | 4.94 | 144 | 3600 | 0.45
WATER FLOW SWITCHES
|  | CONTRACTOR | WHOLESALER
7710007S | Safe Signal 1" to 2" Water Flow Switch (WFDTN) | 146.32 | 131.69
7710008S | System Sensor 2" Water Flow Switch (WFD20N) | 138.44 | 124.6
7710009S | System Sensor 2-1/2" Water Flow Switch (WFD25N) | 138.44 | 124.6
7710010S | System Sensor 3" Water Flow Switch (WFD30N) | 138.44 | 124.6
7710012S | System Sensor 4" Water Flow Switch (WFD40N) | 138.44 | 124.6
7710014S | System Sensor 6" Water Flow Switch (WFD60N) | 138.44 | 124.6
7710015S | System Sensor 8" Water Flow Switch (WFD80N) | 166.25 | 149.63
7710007 | Potter VSRS 1" to 2" Water Flow Switch (WFDTH) | 161.69 | 161.69
7710008 | Potter VSR Series Vane Type Water Flow Switch 2" (WFD20) | 152.84 | 152.84
7710009 | Potter VSR Series Vane Type Water Flow Switch 2-1/2"(WFD25) | 152.84 | 152.84
7710010 | Potter VSR Series Vane Type Water Flow Switch 3"(WFD30) | 152.84 | 152.84
7710012 | Potter VSR Series Vane Type Water Flow Switch 4"(WFD40) | 152.84 | 152.84
7710014 | Potter VSR Series Vane Type Water Flow Switch 6"(WFD60) | 152.84 | 152.84
7710015 | Potter VSR Series Vane Type Water Flow Switch 8"(P1144408) | 177.25 | 177.25
POST INDICATOR
6520280 | FP Upright Post Indicator (UL/FM) | 1230.53 | 922.9 | 836.76 | 2 | 20 | 211.58
6520281 | FP Wall Post Indicator w/ Shaft (UL/FM) | 630.61 | 472.96 | 428.81 | 2 |  | 90.67
|  | CONTRACTOR | WHOLESALER
3099112 | Wrench P.I.V. Universal | 179.74 | 143.79

## FS Control Butterfly
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
*ALL FIRE SPRINKLER CONTROL BUTTERFLY VALVES INCLUDE TAMPER SWITCH
BUTTERFLY VALVES GROOVED DUCTILE IRON 300#
6520250 | Butterfly Valve Groove 2-1/2" 300# (UL/FM) | 138.75 | 104.06 | 94.35 | 4 | 96 | 18.5
6520251 | Butterfly Valve Groove 3" 300# (UL/FM) | 132.46 | 99.35 | 90.07 | 3 | 72 | 20
6520252 | Butterfly Valve Groove 4" 300# (UL/FM) | 163.94 | 122.96 | 111.48 | 3 | 48 | 25
6520253 | Butterfly Valve Groove 6" 300# (UL/FM) | 223.59 | 167.69 | 152.04 | 2 | 48 | 32.4
6520254 | Butterfly Valve Groove 8" 300# (UL/FM) | 367.53 | 275.65 | 249.92 | 2 | 24 | 70
6520255 | Butterfly Valve Groove 10" 300# (UL/FM) | 976.65 | 732.49 | 664.12 | 1 | 8 | 90
6520250-NC | Butterfly Valve Grooved 2-1/2" (Supervised Closed) 300# (UL/FM) | 201.01 | 150.76 | 136.69 | 4 | 50 | 18.5
6520251-NC | Butterfly Valve Grooved 3" (Supervised Closed) 300# (UL/FM) | 209.48 | 157.11 | 142.45 | 3 | 50 | 20
6520252-NC | Butterfly Valve Grooved 4" (Supervised Closed) 300# (UL/FM) | 251.81 | 188.86 | 171.23 | 2 | 40 | 24
6520253-NC | Butterfly Valve Grooved 6" (Supervised Closed) 300# (UL/FM) | 331.39 | 248.54 | 225.35 | 2 | 24 | 36
6520254-NC | Butterfly Valve Grooved 8" (Supervised Closed) (UL/FM) | 514.82 | 386.12 | 350.08 | 2 | 20 | 50
BUTTERFLY VALVES THREADED BRONZE 300#
6520290 | Bronze Butterfly Valve Threaded 1" 300# | 131.05 | 98.29 | 89.11 | 4 | 96 | 4.2
6520291 | Bronze Butterfly Valve Threaded 1-1/4" 300# | 140.56 | 105.42 | 95.58 | 4 | 96 | 4.3
6520292 | Bronze Butterfly Valve Threaded 1-1/2" 300# | 157.06 | 117.8 | 106.8 | 4 | 96 | 4.3
6520293 | Bronze Butterfly Valve Threaded 2" 300# | 182.18 | 136.64 | 123.88 | 4 | 96 | 5.6
6520295 | Bronze Butterfly Valve Threaded 2-1/2" 300# | 206.4 | 154.8 | 140.35 | 2 | 96 | 8.3
BUTTERFLY VALVES GROOVED BRONZE 300#
6520291A | Bronze Butterfly Valve Grooved 1-1/4" 300# | 140.56 | 105.42 | 95.58 | 4 | 96 | 4.3
6520292A | Bronze Butterfly Valve Grooved 1-1/2" 300# | 157.06 | 117.8 | 106.8 | 4 | 96 | 4.3
6520294 | Bronze Butterfly Valve Grooved 2" 300# | 182.18 | 136.64 | 123.88 | 4 | 96 | 5.5
6520296 | Bronze Butterfly Valve Grooved 2-1/2" 300# | 206.4 | 154.8 | 140.35 | 2 | 96 | 6.8
WAFER BUTTERFLY VALVES GROOVED 300#
6520256A | Wafer Butterfly Valve 2-1/2" w/ Double Tamper 300# (UL/FM) | 198.4 | 148.8 | 134.91 | 4 | 50 | 20
6520256 | Wafer Butterfly Valve 3" w/ Double Tamper 300# (UL/FM) | 206.15 | 154.61 | 140.18 | 4 | 50 | 20
6520257 | Wafer Butterfly Valve 4" w/ Double Tamper 300# (UL/FM) | 236.13 | 177.1 | 160.57 | 4 | 40 | 21
6520258 | Wafer Butterfly Valve 6" w/ Double Tamper 300# (UL/FM) | 287.05 | 215.29 | 195.19 | 2 | 24 | 30
6520259 | Wafer Butterfly Valve 8" w/ Double Tamper 300# (UL/FM) | 470.95 | 353.21 | 320.25 | 2 | 8 | 31
6520259A | Wafer Butterfly Valve 10" w/ Double Tamper 300# (UL/FM) | 1499.64 | 1124.73 | 1019.76 | 2 | 8 | 88
6520259B | Wafer Butterfly Valve 12" w/ Double Tamper 300# (UL/FM) | 1984.92 | 1488.69 | 1349.75 | 2 | 8 | 125
BUTTERFLY VALVES LUG STYLE 300#
6520269-025 | Butterfly Valve 2-1/2" Fire Protection Type Lug Style 300 psi | 257.76 | 193.32 | 175.28 | 4 | 50 | 20
6520269-030 | Butterfly Valve 3" Fire Protection Type Lug Style 300 psi | 288.42 | 216.32 | 196.13 | 4 | 50 | 20
6520269-040 | Butterfly Valve 4" Fire Protection Type Lug Style 300 psi | 318.24 | 238.68 | 216.4 | 4 | 40 | 21
6520269-060 | Butterfly Valve 6" Fire Protection Type Lug Style 300 psi | 387.69 | 290.77 | 263.63 | 2 | 24 | 30
6520269-080 | Butterfly Valve 8" Fire Protection Type Lug Style 300 psi | 643.32 | 482.49 | 437.46 | 2 | 8 | 31

## Commercial Lever Type Butterfly
Item Number | Name | Base Price | 10% Off | 15% Off | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
BUTTERFLY VALVES DUCTILE IRON LEVER TYPE GROOVED 300#
6520220 | Lever Type Butterfly Valve 2" Grooved 300# | 45.76 | 41.18 | 38.9 | 34.32 | 31.12 | 4 | 100 | 5
6520221 | Lever Type Butterfly Valve 2-1/2" Grooved 300# | 58.23 | 52.41 | 49.5 | 43.67 | 39.6 | 4 | 100 | 6.6
6520222 | Lever Type Butterfly Valve 3" Grooved 300# | 63.76 | 57.38 | 54.2 | 47.82 | 43.36 | 4 | 100 | 7.3
6520223 | Lever Type Butterfly Valve 4" Grooved 300# | 86.79 | 78.11 | 73.77 | 65.09 | 59.02 | 4 | 50 | 17.5
6520224 | Lever Type Butterfly Valve 5" Grooved 300# | 116.93 | 105.24 | 99.39 | 87.7 | 79.51 | 4 | 50 | 18.3
6520225 | Lever Type Butterfly Valve 6" Grooved 300# | 161.55 | 145.4 | 137.32 | 121.16 | 109.85 | 2 | 30 | 22
6520226 | Lever Type Butterfly Valve 8" Grooved 300# | 344.78 | 310.3 | 293.06 | 258.59 | 234.45 | 2 | 20 | 33.5
6520227 | Lever Type Butterfly Valve 10" Grooved 300# | 705.6 | 635.04 | 599.76 | 529.2 | 479.81 |  | 10 | 45
BUTTERFLY VALVES DUCTILE IRON LOW PROFILE LEVER TYPE 300#
6520228-020 | Lever Type (Low Profile) Butterfly Valve 2" Grooved 300# | 76.85 | 69.17 | 65.32 | 57.64 | 52.26 | 4 | 200 | 6
6520228-025 | Lever Type (Low Profile) Butterfly Valve 2-1/2" Grooved 300# | 100.47 | 90.42 | 85.4 | 75.35 | 68.32 | 4 | 200 | 7.49
6520228-030 | Lever Type (Low Profile) Butterfly Valve 3" Grooved 300# | 117.81 | 106.03 | 100.14 | 88.36 | 80.11 | 4 | 150 | 9
6520228-040 | Lever Type (Low Profile) Butterfly Valve 4" Grooved 300# | 148.52 | 133.67 | 126.24 | 111.39 | 100.99 | 4 | 100 | 10
6520228-060 | Lever Type (Low Profile) Butterfly Valve 6" Grooved 300# | 209.97 | 188.97 | 178.47 | 157.48 | 142.78 | 2 | 50 | 12
6520228-080 | Lever Type (Low Profile) Butterfly Valve 8" Grooved 300# | 363.57 | 327.21 | 309.03 | 272.68 | 247.23 | 2 | 30 | 13
BUTTERFLY VALVES DUCTILE IRON LEVER TYPE WAFER 300#
6520230 | Butterfly Valve 2" Wafer Lever Type 300PSI | 133.96 | 120.56 | 113.87 | 100.47 | 91.09 | 4 | 100 | 5
6520231 | Butterfly Valve 2-1/2" Wafer Lever Type 300PSI | 159.72 | 143.75 | 135.76 | 119.79 | 108.61 | 4 | 100 | 6.6
6520232 | Butterfly Valve 3" Wafer Lever Type 300PSI | 180.86 | 162.77 | 153.73 | 135.65 | 122.98 | 4 | 100 | 7.3
6520233 | Butterfly Valve 4" Wafer Lever Type 300PSI | 217.95 | 196.16 | 185.26 | 163.46 | 148.21 | 4 | 80 | 17.5
6520234 | Butterfly Valve 5" Wafer Lever Type 300PSI | 241.08 | 216.97 | 204.92 | 180.81 | 163.93 | 4 | 60 | 18.3
6520235 | Butterfly Valve 6" Wafer Lever Type 300PSI | 305.43 | 274.89 | 259.62 | 229.07 | 207.69 | 2 | 40 | 22
6520236 | Butterfly Valve 8" Wafer Lever Type 300PSI | 528.86 | 475.97 | 449.53 | 396.65 | 359.62 | 2 | 30 | 33.5
BUTTERFLY VALVES STAINLESS STEEL LEVER TYPE GROOVED 300#
6520220 | Lever Type Butterfly Valve SS 2" Grooved 300# | PRICED ON REQUEST
6520221 | Lever Type Butterfly Valve SS 2-1/2" Grooved 300#
6520222 | Lever Type Butterfly Valve SS 3" Grooved 300#
6520223 | Lever Type Butterfly Valve SS 4" Grooved 300#
6520224 | Lever Type Butterfly Valve SS 5" Grooved 300#
6520225 | Lever Type Butterfly Valve SS 6" Grooved 300#
6520226 | Lever Type Butterfly Valve SS 8" Grooved 300#
6520227 | Lever Type Butterfly Valve SS 10" Grooved 300#
BUTTERFLY VALVES STAINLESS STEEL LOW PROFILE LEVER TYPE 300#
6520228-020 | Lever Type (Low Profile) Butterfly Valve SS 2" Grooved 300# | PRICED ON REQUEST
6520228-025 | Lever Type (Low Profile) Butterfly Valve SS 2-1/2" Grooved 300#
6520228-030 | Lever Type (Low Profile) Butterfly Valve SS 3" Grooved 300#
6520228-040 | Lever Type (Low Profile) Butterfly Valve SS 4" Grooved 300#
6520228-060 | Lever Type (Low Profile) Butterfly Valve SS 6" Grooved 300#
6520228-080 | Lever Type (Low Profile) Butterfly Valve SS 8" Grooved 300#

## Commercial Check
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
GROOVED CHECK VALVE
6520200 | Grooved Check Valve 2" Ductile Iron Red | 70.33 | 56.26 | 52.75 | 6 | 216 | 8
6520201 | Grooved Check Valve 2-1/2" Ductile Iron Red | 73.28 | 58.62 | 54.96 | 6 | 216 | 8
6520202 | Grooved Check Valve 3" Ductile Iron Red | 100.56 | 80.45 | 75.42 | 3 | 90 | 11
6520203 | Grooved Check Valve 4" Ductile Iron Red | 120.56 | 96.45 | 90.42 | 2 | 120 | 17
6520203A | Grooved Check Valve 5" Ductile Iron Red | 278.94 | 223.15 | 209.21 |  | 36 | 22
6520204 | Grooved Check Valve 6" Ductile Iron Red | 235.25 | 188.2 | 176.44 |  | 36 | 38
6520205 | Grooved Check Valve 8" Ductile Iron Red | 347.86 | 278.29 | 260.9 |  | 36 | 66
6520206 | Grooved Check Valve 10" Ductile Iron Red | 681.96 | 545.57 | 511.47 |  | 6 | 115
6520207 | Grooved Check Valve 12" Ductile Iron Red | 1362.03 | 1089.62 | 1021.52 |  | 5 | 166
FLANGED CHECK VALVE
6520211A | Flanged Check Valve 2" | 250.25 | 200.2 | 187.69 | 4 |  | 25
6520211 | Flanged Check Valve 2-1/2" | 311.96 | 249.57 | 233.97 | 4 |  | 100
6520212 | Flanged Check Valve 3" | 431.9 | 345.52 | 323.93 | 4 |  | 100
6520213 | Flanged Check Valve 4" | 586.18 | 468.94 | 439.64 | 4 |  | 100
6520214 | Flanged Check Valve 6" | 1072.93 | 858.34 | 804.7 | 4 |  | 140
6520215 | Flanged Check Valve 8" | 1892.21 | 1513.77 | 1419.16 | 2 |  | 100
6520216 | Flanged Check Valve 10" | 2749.18 | 2199.34 | 2061.89 | 2 |  | 375
6520217 | Flanged Check Valve 12" | 3832.4 | 3065.92 | 2874.3 |  |  | 100
RISER CHECK VALVE G X G
6520310 | Riser Check Valve 2" (shotgun) GxG | 88.99 | 71.19 | 66.74 | 4 |  | 7.94
6520311 | Riser Check Valve 2-1/2" (shotgun) GxG | 90.88 | 72.7 | 68.16 | 4 |  | 8.16
6520312 | Riser Check Valve 3" (shotgun) GxG | 109.32 | 87.46 | 81.99 | 4 |  | 10.37
6520313 | Riser Check Valve 4" (shotgun) GxG | 131.78 | 105.42 | 98.84 | 2 |  | 16.98
6520314 | Riser Check Valve 6" (shotgun) GxG | 255.73 | 204.58 | 191.8 | 2 |  | 42.35
6520314A | Riser Check Valve 8" (shotgun) GxG | 378.09 | 302.47 | 283.57 | 2 |  | 66.14
TRIM FOR RISER CHECK VALVE
6520315 | Trim for 2" Riser Check Valve (shotgun) | 70.73 | 56.58 | 53.05 |  |  | 4.24
6520316 | Trim for 2-1/2", 65MM, & 3" Riser Check Valve (shotgun) | 81.55 | 65.24 | 61.16 |  |  | 4.6
6520317 | Trim for 4" Riser Check Valve (shotgun) | 121.59 | 97.27 | 91.19 |  |  | 7.96
6520318 | Trim for 6", 8" & 150MM Riser Check Valve (shotgun) | 125.53 | 100.42 | 94.15 |  |  | 7.3
WAFER CHECK VALVES
6520285A | Wafer Check Valves Double Door C.I. Body 2-1/2" (UL/FM) | 128.49 | 102.79 | 96.37 | 4 | 150 | 5.5
6520285B | Wafer Check Valves Double Door C.I. Body 3" (UL/FM) | 151.86 | 121.49 | 113.9 | 4 | 100 | 6.3
6520285 | Wafer Check Valves Double Door C.I. Body 4" (UL/FM) | 233.64 | 186.91 | 175.23 | 2 | 100 | 10.8
6520286 | Wafer Check Valves Double Door C.I. Body 6" (UL/FM) | 478.95 | 383.16 | 359.21 | 2 | 50 | 23.4
6520287 | Wafer Check Valves Double Door C.I. Body 8" (UL/FM) | 794.37 | 635.5 | 595.78 | 2 | 50 | 41.4
6520288 | Wafer Check Valves Double Door C.I. Body 10" (UL/FM) | 1325.91 | 1060.73 | 994.43 |  | 25 | 69.5
6520289 | Wafer Check Valves Double Door C.I. Body 12" (UL/FM) | 2351.02 | 1880.82 | 1763.27 |  | 20 | 112.3
6520289A | Wafer Check Valves Double Door C.I. Body 14" (UL/FM) | 3407.25 | 2725.8 | 2555.44 |  | 20 | 151.3

## OS&Y Gate
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
OUTSIDE SCREW & YOLK VALVES
OS&Y VALVE DUCTILE IRON FLANGED
6520260 | OS&Y Gate Valve D.I. Body-Flanged 2-1/2" | 285.71 | 214.28 | 194.28 | 4 | 25 | 52
6520261 | OS&Y Gate Valve D.I. Body-Flanged 3" (UL/FM) | 307.82 | 230.87 | 209.32 | 2 | 16 | 61
6520262 | OS&Y Gate Valve D.I. Body-Flanged 4" (UL/FM) | 363.77 | 272.83 | 247.36 | 2 | 16 | 85
6520263 | OS&Y Gate Valve D.I. Body-Flanged 6" (UL/FM) | 599.21 | 449.41 | 407.46 | 2 | 9 | 151
6520264 | OS&Y Gate Valve D.I. Body-Flanged 8" (UL/FM) | 913.62 | 685.22 | 621.26 | 2 | 4 | 253
6520265 | OS&Y Gate Valve D.I. Body-Flanged 10" (UL/FM) | 1305.17 | 978.88 | 887.52 | 2 | 4 | 326
6520266 | OS&Y Gate Valve D.I. Body-Flanged 12" (UL/FM) | 3622.39 | 2716.79 | 2463.23 | 2 | 4 | 469
6520267 | OS&Y Gate Valve D.I. Body-Flanged 14" (UL/FM) | 5835.15 | 4376.36 | 3967.9 |  | 2 | 757
6520268 | OS&Y Gate Valve D.I. Body-Flanged 16" (UL/FM) | 8557.08 | 6417.81 | 5818.81 |  | 2 | 785
6520268-18 | OS&Y Gate Valve D.I. Body-Flanged 18" (UL/FM) | 15718.14 | 11788.61 | 10688.34 |  | 2 | 1170
6520268-20 | OS&Y Gate Valve D.I. Body-Flanged 20" (UL/FM) | 18994.92 | 14246.19 | 12916.55 |  | 2 | 1247
6520268-24 | OS&Y Gate Valve D.I. Body-Flanged 24" (UL/FM) | 24272.28 | 18204.21 | 16505.15 |  | 2 | 1727
OS&Y VALVE DUCTILE IRON FLANGED w/ NBG KITS
6520260NBG | OS&Y Gate Valve D.I. Body Flanged 2-1/2" w/ two NBG kits | 309.89 | 232.42 | 210.73 | 4 | 25 | 62
6520261NBG | OS&Y Gate Valve D.I. Body Flanged 3" w/ two NBG kits | 332.27 | 249.2 | 225.94 | 2 | 16 | 71
6520262NBG | OS&Y Gate Valve D.I. Body Flanged 4" w/ two NBG kits | 400.11 | 300.08 | 272.07 | 2 | 16 | 99
6520263NBG | OS&Y Gate Valve D.I. Body Flanged 6" w/ two NBG kits | 650.32 | 487.74 | 442.22 | 2 | 9 | 168
6520264NBG | OS&Y Gate Valve D.I. Body Flanged 8" w/ two NBG kits | 974.89 | 731.17 | 662.93 | 2 | 4 | 271
6520265NBG | OS&Y Gate Valve D.I. Body Flanged 10" w/ two NBG kits | 1416.58 | 1062.44 | 963.27 | 2 | 4 | 358
6520266NBG | OS&Y Gate Valve D.I. Body Flanged 12" w/ two NBG kits | 3752.21 | 2814.16 | 2551.5 | 2 | 4 | 502
OS&Y VALVE DUCTILE IRON FLANGED w/ NBG KITS & TAMPER SWITCH
6520260NBGT | OS&Y Gate Valve D.I. Body Flanged 2-1/2" w/ two NBG kits, Tamper Switch | 499.69 | 374.77 | 339.79 | 4 | 25 | 64
6520261NBGT | OS&Y Gate Valve D.I. Body Flanged 3" w/ two NBG kits, Tamper Switch | 522.06 | 391.55 | 355 | 2 | 16 | 74
6520262NBGT | OS&Y Gate Valve D.I. Body Flanged 4" w/ two NBG kits, Tamper Switch | 589.91 | 442.43 | 401.14 | 2 | 16 | 102
6520263NBGT | OS&Y Gate Valve D.I. Body Flanged 6" w/ two NBG kits, Tamper Switch | 840.09 | 630.07 | 571.26 | 2 | 9 | 171
6520264NBGT | OS&Y Gate Valve D.I. Body Flanged 8" w/ two NBG kits, Tamper Switch | 1164.68 | 873.51 | 791.98 | 2 | 4 | 273
6520265NBGT | OS&Y Gate Valve D.I. Body Flanged 10" w/ two NBG kits, Tamper Switch | 1606.37 | 1204.78 | 1092.33 | 2 | 4 | 361
6520266NBGT | OS&Y Gate Valve D.I. Body Flanged 12" w/ two NBG kits, Tamper Switch | 3941.98 | 2956.49 | 2680.55 | 2 | 4 | 505
OS&Y VALVE DUCTILE IRON GROOVED
6520260-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 2-1/2" (UL/FM) | 220.38 | 165.29 | 149.86 | 4 | 36 | 40
6520261-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 3" (UL/FM) | 279.13 | 209.35 | 189.81 | 2 | 36 | 75
6520262-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 4" (UL/FM) | 363.84 | 272.88 | 247.41 | 2 | 16 | 82
6520263-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 6" (UL/FM) | 575.28 | 431.46 | 391.19 | 2 | 9 | 128
6520264-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 8" (UL/FM) | 976.69 | 732.52 | 664.15 | 2 | 9 | 268
6520265-GROOVED | OS&Y Gate Valve D.I. Body-Grooved 10" (UL/FM) | 1797.2 | 1347.9 | 1222.1 | 2 | 4 | 326
OS&Y VALVE DUCTILE IRON GROOVED x FLANGED
6520266C-025 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 2-1/2" | 473.13 | 354.85 | 321.73 | 4 |  | 46
6520266C-030 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 3" | 554.14 | 415.61 | 376.82 | 2 |  | 68
6520266C-040 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 4" | 666.16 | 499.62 | 452.99 |  |  | 84
6520266C-060 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 6" | 1089.51 | 817.13 | 740.87 |  |  | 140
6520266C-080 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 8" | 1768.12 | 1326.09 | 1202.32 |  |  | 261
6520266C-100 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 10" | 2633.49 | 1975.12 | 1790.77 |  |  | 326
6520266C-120 | OS&Y Gate Valve D.I. Body-Grooved x Flanged 12" | 4165.08 | 3123.81 | 2832.25 |  |  | 469
OS&Y VALVE BRONZE
6520267-0100 | Fire Protection OS&Y Valve Bronze 1" IPS Thread | 267.85 | 200.89 | 182.14 | 4 |  | 5
6520267-0125 | Fire Protection OS&Y Valve Bronze 1-1/4" IPS Thread | 339.64 | 254.73 | 230.96 | 4 |  | 8
6520267-0150 | Fire Protection OS&Y Valve Bronze 1-1/2" IPS Thread | 421.98 | 316.49 | 286.95 | 4 |  | 8
6520267-0200 | Fire Protection OS&Y Valve Bronze 2" IPS Thread | 506.4 | 379.8 | 344.35 | 4 |  | 11

## NRS Gate
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
NON-RISING STEM VALVES
PIV NRS GATE VALVE DUCTILE FLANGE
6520270A | PIV NRS Gate Valve D.I. Body-Flanged 2-1/2" 300 psi (UL/FM) | 237.01 | 177.76 | 161.17 | 4 | 16 | 20
6520270B | PIV NRS Gate Valve D.I. Body-Flanged 3" 300 psi (UL/FM) | 282.26 | 211.7 | 191.94 | 4 | 16 | 41
6520270 | PIV NRS Gate Valve D.I. Body-Flanged 4" 300 psi (UL/FM) | 471.88 | 353.91 | 320.88 | 2 | 9 | 110
6520271 | PIV NRS Gate Valve D.I. Body-Flanged 6" 300 psi (UL/FM) | 723.98 | 542.99 | 492.31 | 2 | 9 | 112
6520272 | PIV NRS Gate Valve D.I. Body-Flanged 8" 300 psi (UL/FM) | 1131.22 | 848.42 | 769.23 | 2 | 9 | 259
6520273 | PIV NRS Gate Valve D.I. Body-Flanged 10" 300 psi (UL/FM) | 2053.8 | 1540.35 | 1396.58 | 2 |  | 300
6520274 | PIV NRS Gate Valve D.I. Body-Flanged 12" 300 psi (UL/FM) | 3123.3 | 2342.48 | 2123.84 | 4 |  | 339
PIV NRS GATE VALVE DUCTILE GROOVE
6520284-025 | PIV NRS Gate Valve D.I. Body GxG 2-1/2" 300 psi (UL/FM) | 329.07 | 246.8 | 223.77 | 4 | 9 | 47
6520284-030 | PIV NRS Gate Valve D.I. Body GxG 3" 300 psi (UL/FM) | 404.5 | 303.38 | 275.06 | 4 | 9 | 100
6520284-040 | PIV NRS Gate Valve D.I. Body GxG 4" 300 psi (UL/FM) | 507.33 | 380.5 | 344.98 | 2 | 16 | 85.98
6520284-060 | PIV NRS Gate Valve D.I. Body GxG 6" 300 psi (UL/FM) | 822.71 | 617.03 | 559.44 | 2 | 9 | 123.46
6520284-080 | PIV NRS Gate Valve D.I. Body GxG 8" 300 psi (UL/FM) | 1480.85 | 1110.64 | 1006.98 | 2 | 6 | 198.42
6520284-100 | PIV NRS Gate Valve D.I. Body GxG 10" 300 psi (UL/FM) | 2145.85 | 1609.39 | 1459.18 | 2 | 4 | 286.6
6520284-120 | PIV NRS Gate Valve D.I. Body GxG 12" 300 psi (UL/FM) | 3078.25 | 2308.69 | 2093.21 | 2 | 2 | 379.19
PIV NRS GATE VALVE DUCTILE MECHANICAL JOINT
6520275 | PIV NRS Gate Valve D.I. Body MJxMJ 4" 300 psi (UL/FM) | 630.84 | 473.13 | 428.97 | 2 | 9 | 110
6520276 | PIV NRS Gate Valve D.I. Body MJxMJ 6" 300 psi (UL/FM) | 1063.08 | 797.31 | 722.89 | 2 | 9 | 112
6520277 | PIV NRS Gate Valve D.I. Body MJxMJ 8" 300 psi (UL/FM) | 1674.44 | 1255.83 | 1138.62 | 2 | 9 | 259
6520278 | PIV NRS Gate Valve D.I. Body MJxMJ 10" 300 psi (UL/FM) | 2313.04 | 1734.78 | 1572.87 | 2 |  | 300
6520279 | PIV NRS Gate Valve D.I. Body MJxMJ 12" 300 psi (UL/FM) | 3730.44 | 2797.83 | 2536.7 | 4 |  | 339
POST INDICATOR
6520280 | FP Upright Post Indicator (UL/FM) | 1230.53 | 922.9 | 836.76 | 2 | 20 | 211.58
6520281 | FP Wall Post Indicator w/ Shaft (UL/FM) | 630.61 | 472.96 | 428.81 | 2 | 25 | 90.67
|  | CONTRACTOR | WHOLESALER
3099112 | Wrench P.I.V. Universal | 179.74 | 143.79 |  | 14 |  | 5

## Flange Bolt & Gasket Kits
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
FLANGE GASKET & BOLT PACKS
RED RUBBER RING GASKET & BOLT PACKS
2515050K | Boltpack 150# Red Rubber Ring 2" x 1/8" | 9.28 | 6.96 | 6.31 | 12 |  | 4.62
2515051K | Boltpack 150# Red Rubber Ring 2-1/2" x 1/8" | 10.15 | 7.61 | 6.9 | 12 |  | 1.8
2515052K | Boltpack 150# Red Rubber Ring 3" x 1/8" | 10.58 | 7.94 | 7.19 | 12 |  | 4.66
2515054K | Boltpack 150# Red Rubber Ring 4" x 1/8" | 16.8 | 12.6 | 11.42 | 12 |  | 3.3
2515055K | Boltpack 150# Red Rubber Ring 5" x 1/8" | 23.28 | 17.46 | 15.83 | 12 |  | 8.26
2515056K | Boltpack 150# Red Rubber Ring 6" x 1/8" | 24.8 | 18.6 | 16.86 | 12 |  | 5.5
2515057K | Boltpack 150# Red Rubber Ring 8" x 1/8" boxed | 29.03 | 21.77 | 19.74 | 12 |  | 8.3
2515058K | Boltpack 150# Red Rubber Ring 10" x 1/8" boxed | 57.53 | 43.15 | 39.12 | 4 |  | 16.13
2515059K | Boltpack 150# Red Rubber Ring 12" x 1/8" boxed | 65.33 | 49 | 44.42 | 4 |  | 13.25
RED RUBBER FULL FACE GASKET & BOLT PACKS
2515150K | Boltpack 150# Red Rubber Full Face 2" x 1/8" | 12.1 | 9.08 | 8.23 | 12 |  | 4.96
2515151K | Boltpack 150# Red Rubber Full Face 2-1/2" x 1/8" | 14.25 | 10.69 | 9.69 | 12 |  | 5.06
2515152K | Boltpack 150# Red Rubber Full Face 3" x 1/8" | 14.43 | 10.82 | 9.81 | 12 |  | 5.06
2515154K | Boltpack 150# Red Rubber Full Face 4" x 1/8" | 21.43 | 16.07 | 14.57 | 12 |  | 6.52
2515155K | Boltpack 150# Red Rubber Full Face 5" x 1/8" | 28.33 | 21.25 | 19.26 | 12 |  | 8.6
2515156K | Boltpack 150# Red Rubber Full Face 6" x 1/8" | 30.15 | 22.61 | 20.5 | 12 |  | 5.5
2515157K | Boltpack 150# Red Rubber Full Face 8" x 1/8" | 36.15 | 27.11 | 24.58 | 12 |  | 8.6
2515158K | Boltpack 150# Red Rubber Full Face 10" x 1/8" | 65.75 | 49.31 | 44.71 | 4 |  | 16.43
2515159K | Boltpack 150# Red Rubber Full Face 12" x 1/8" | 76.58 | 57.44 | 52.07 | 4 |  | 16.43
NON ASBESTOS RING GASKET & BOLT PACKS
2599050K | Boltpack 150# Non Asbestos Ring 2" & 1/16" | 8.85 | 6.64 | 6.02 | 12 |  | 4.76
2599051K | Boltpack 150# Non Asbestos Ring 2-1/2" & 1/16" | 9.65 | 7.24 | 6.56 | 12 |  | 4.76
2599052K | Boltpack 150# Non Asbestos Ring 3" & 1/16" | 9.93 | 7.45 | 6.75 | 12 |  | 4.76
2599054K | Boltpack 150# Non Asbestos Ring 4" X 1/16" | 15.63 | 11.72 | 10.63 | 12 |  | 6.22
2599055K | Boltpack 150# Non Asbestos Ring 5" X 1/16" | 21.9 | 16.43 | 14.89 | 12 |  | 8.3
2599056K | Boltpack 150# Non Asbestos Ring 6" X 1/16" | 23.05 | 17.29 | 15.67 | 12 |  | 8.3
2599057K | Boltpack 150# Non Asbestos Ring 8" X 1/16" | 26.4 | 19.8 | 17.95 | 12 |  | 8.3
2599058K | Boltpack 150# Non Asbestos Ring 10" X 1/16" | 53.55 | 40.16 | 36.41 | 4 |  | 15.83
2599059K | Boltpack 150# Non Asbestos Ring 12" X 1/16" | 59.6 | 44.7 | 40.53 | 4 |  | 15.85
NON ASBESTOS FULL FACE GASKET & BOLT PACKS
2599110K | Boltpack 150# Non Asbestos Full Face 2" X 1/16" | 11.38 | 8.54 | 7.74 | 12 |  | 4.56
2599111K | Boltpack 150# Non Asbestos Full Face 2-1/2"X 1/16" | 13.15 | 9.86 | 8.94 | 12 |  | 4.56
2599112K | Boltpack 150# Non Asbestos Full Face 3"X1/16" | 13.38 | 10.04 | 9.1 | 12 |  | 4.56
2599114K | Boltpack 150# Non Asbestos Full Face 4" X 1/16" | 19.6 | 14.7 | 13.33 | 12 |  | 6.02
2599115K | Boltpack 150# Non Asbestos Full Face 5"X1/16" | 26.5 | 19.88 | 18.02 | 12 |  | 8.6
2599116K | Boltpack 150# Non Asbestos Full Face 6" X 1/16" | 27.88 | 20.91 | 18.96 | 12 |  | 8.1
2599117K | Boltpack 150# Non Asbestos Full Face 8" X 1/16" | 32.8 | 24.6 | 22.3 | 12 |  | 8.1
2599118K | Boltpack 150# Non Asbestos Full Face 10" X 1/16" | 61.15 | 45.86 | 41.58 | 4 |  | 15.63
2599119K | Boltpack 150# Non Asbestos Full Face 12" X 1/16" | 71.85 | 53.89 | 48.86 | 4 |  | 15.63

## Ball Valves
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
BRASS BALL VALVES NPT 400#
6520422 | Ball Valve 400# 1/2" NPT Thread Standard Port (UL) | 6.6 | 4.95 | 4.49 | 120 | 5760 | 0.38
6520423 | Ball Valve 400# 3/4" NPT Thread Standard Port (UL) | 9.66 | 7.25 | 6.57 | 90 | 4320 | 0.55
6520424 | Ball Valve 400# 1" NPT Thread Standard Port (UL) | 13.9 | 10.43 | 9.45 | 48 | 2304 | 0.92
6520425 | Ball Valve 400# 1-1/4" NPT Thread Standard Port (UL) | 22.44 | 16.83 | 15.26 | 36 | 1728 | 1.33
6520426 | Ball Valve 400# 1-1/2" NPT Thread Standard Port (UL) | 31.55 | 23.66 | 21.45 | 24 | 1152 | 2.25
6520427 | Ball Valve 400# 2" NPT Thread Standard Port (UL) | 43.98 | 32.99 | 29.91 | 12 | 576 | 4.2
BRASS BALL VALVES 600#
6520401UL | Ball Valve 600# 3/8" NPT Thread Full Port (UL/CGA) | 6.93 | 5.2 | 4.71 | 120 | 5760 | 0.33
6520400UL | Ball Valve 600# 1/4" NPT Thread Full Port (UL/CGA) | 6.93 | 5.2 | 4.71 | 120 | 5760 | 0.33
6520402UL | Ball Valve 600# 1/2" NPT Thread Full Port (UL/CGA) | 7.15 | 5.36 | 4.86 | 100 | 4800 | 0.49
6520403UL | Ball Valve 600# 3/4" NPT Thread Full Port (UL/CGA) | 11.99 | 8.99 | 8.15 | 60 | 2880 | 0.8
6520404UL | Ball Valve 600# 1" NPT Thread Full Port (UL/CGA) | 17.64 | 13.23 | 12 | 36 | 1728 | 1.1
6520405UL | Ball Valve 600# 1-1/4" NPT Thread Full Port (UL/CGA) | 29.83 | 22.37 | 20.28 | 24 | 1152 | 1.83
6520406UL | Ball Valve 600# 1-1/2" NPT Thread Full Port (UL/CGA) | 39.42 | 29.57 | 26.81 | 16 | 768 | 2.5
6520407UL | Ball Valve 600# 2" NPT Thread Full Port (UL/CGA) | 63.12 | 47.34 | 42.92 | 8 | 384 | 4.2
6520408UL | Ball Valve 600# 2-1/2" NPT Thread Full Port (UL/CGA) | 179.81 | 134.86 | 122.27 | 4 | 192 | 7
6520409UL | Ball Valve 600# 3" NPT Thread Full Port (UL/CGA) | 272.6 | 204.45 | 185.37 | 4 | 192 | 11.67
6520410UL | Ball Valve 600# 4" NPT Thread Full Port (UL/CGA) | 404.36 | 303.27 | 274.96 | 2 | 96 | 19.25
BRASS BALL VALVES NPT 600# LEAD FREE
6520690-050 | Ball Valve Lead Free 600# 1/2" NPT Thread Full Port (UL/CSA) | 8.16 | 6.12 | 5.55 | 100 | 4800 | 0.49
6520690-075 | Ball Valve Lead Free 600# 3/4" NPT Thread Full Port (UL/CSA) | 13.68 | 10.26 | 9.3 | 60 | 2880 | 0.8
6520690-100 | Ball Valve Lead Free 600# 1" NPT Thread Full Port (UL/CSA) | 20.86 | 15.65 | 14.18 | 36 | 1728 | 1.1
6520690-125 | Ball Valve Lead Free 600# 1-1/4" NPT Thread Full Port (UL/CSA) | 34.21 | 25.66 | 23.26 | 24 | 1152 | 1.83
6520690-150 | Ball Valve Lead Free 600# 1-1/2" NPT Thread Full Port (UL/CSA) | 45.06 | 33.8 | 30.64 | 16 | 768 | 2.5
6520690-200 | Ball Valve Lead Free 600# 2" NPT Thread Full Port (UL/CSA) | 74.98 | 56.24 | 50.99 | 8 | 384 | 4.2
6520690-250 | Ball Valve Lead Free 600# 2-1/2" NPT Thread Full Port (UL/CSA) | 213.58 | 160.19 | 145.23 | 4 | 192 | 7
6520690-300 | Ball Valve Lead Free 600# 3" NPT Thread Full Port (UL/CSA) | 323.86 | 242.9 | 220.22 | 4 | 192 | 11.67
6520690-400 | Ball Valve Lead Free 600# 4" NPT Thread Full Port (UL/CSA) | 480.28 | 360.21 | 326.59 | 2 | 96 | 19.25

## FS Trim Valves
Item Number | Name | Base Price | 25% Off | 32% Off | Case Quantity | Pallet Quantity | Weight
TRIM VALVES
BRASS INLINE CHECK VALVE
6520140 | Inline Check Valve 1" NPT Thread 200 psi | 15.07 | 11.3 | 10.25 | 60 | 4800 | 0.88
6520145 | Inline Check Valve 1-1/4" NPT Thread 200 psi | 22.81 | 17.11 | 15.51 | 40 | 4800 | 1.5
6520150 | Inline Check Valve 1-1/2" NPT Thread 200 psi | 28.31 | 21.23 | 19.25 | 30 | 2880 | 1.77
6520151 | Inline Check Valve 2" NPT Thread 200 psi | 50.95 | 38.21 | 34.65 | 20 | 480 | 3.44
BRASS SWING CHECK VALVE
6520105A | Check Valve 1/2" NPT Thread w/ Rubber Seat | 10.58 | 7.94 | 7.19 | 150 | 3600 | 0.38
6520110A | Check Valve 3/4" NPT Thread w/ Rubber Seat | 13.11 | 9.83 | 8.91 | 90 | 2160 | 0.7
6520115A | Check Valve 1" NPT Thread w/ Rubber Seat | 16.61 | 12.46 | 11.29 | 60 | 1440 | 1.217
6520120A | Check Valve 1-1/4" NPT Thread w/ Rubber Seat | 27.54 | 20.66 | 18.73 | 40 | 960 | 1.4
6520125A | Check Valve 1-1/2" NPT Thread w/ Rubber Seat | 35 | 26.25 | 23.8 | 30 | 720 | 2.33
6520130A | Check Valve 2" NPT Thread w/ Rubber Seat | 52.34 | 39.26 | 35.59 | 12 | 288 | 3.83
BRASS GLOBE VALVE
6520044 | Globe Valve 1/4" NPT Thread 200# w/ Rubber Seat | 20.75 | 15.56 | 14.11 | 100 |  | 0.35
6520045A | Globe Valve 1/2" NPT Thread 200# w/ Rubber Seat | 11.68 | 8.76 | 7.94 | 100 | 2400 | 0.68
6520050A | Globe Valve 3/4" NPT Thread 200# w/ Rubber Seat | 14.19 | 10.64 | 9.65 | 60 | 1440 | 0.93
6520055A | Globe Valve 1" NPT Thread 200# w/ Rubber Seat | 20 | 15 | 13.6 | 50 | 960 | 1.18
6520060A | Globe Valve 1-1/4" NPT Thread 200# w/ Rubber Seat | 31.66 | 23.75 | 21.53 | 30 | 720 | 2.43
6520065A | Globe Valve 1-1/2" NPT Thread 200# w/ Rubber Seat | 40.22 | 30.17 | 27.35 | 20 | 480 | 3.25
6520070A | Globe Valve 2" NPT Thread 200# w/ Rubber Seat | 61.78 | 46.34 | 42.01 | 12 | 384 | 5
BRASS ANGLE GLOBE VALVE
6520080 | Angle Globe Valve 3/4" NPT Thread 200# w/ Rubber Seat | 17.62 | 13.22 | 11.98 | 60 | 2400 | 0.9
6520085 | Angle Globe Valve 1" NPT Thread 200# w/ Rubber Seat | 27.76 | 20.82 | 18.88 | 40 | 960 | 1.83
6520090 | Angle Globe Valve 1-1/4" NPT Thread 200# w/ Rubber Seat | 38.28 | 28.71 | 26.03 | 20 | 480 | 2.1
6520095 | Angle Globe Valve 1-1/2" NPT Thread 200# w/ Rubber Seat | 52.29 | 39.22 | 35.56 | 16 | 384 | 3.19
6520100 | Angle Globe Valve 2" NPT Thread 200# w/ Rubber Seat | 77.62 | 58.22 | 52.78 | 10 | 240 | 5.3
BRASS GATE VALVE
6520503 | Brass Gate Valve 3/4" NPT Thread 200# | 10.6 | 7.95 | 7.21 | 100 | 2400 | 0.79
6520504 | Brass Gate Valve 1" NPT Thread 200# | 14.43 | 10.82 | 9.81 | 50 | 1200 | 1.06
6520505 | Brass Gate Valve 1-1/4" NPT Thread 200# | 21.67 | 16.25 | 14.74 | 32 | 768 | 1.54
6520506 | Brass Gate Valve 1-1/2" NPT Thread 200# | 27.08 | 20.31 | 18.41 | 32 | 768 | 1.9
6520507 | Brass Gate Valve 2" NPT Thread 200# | 41.29 | 30.97 | 28.08 | 20 | 480 | 3.1
6520508 | Brass Gate Valve 2-1/2" NPT Thread 200# | 246.44 | 184.83 | 167.58 | 10 |  | 5.3
6520509 | Brass Gate Valve 3" NPT Thread 200# | 119.06 | 89.3 | 80.96 | 6 |  | 8.5
6520510 | Brass Gate Valve 4" NPT Thread 200# | 465.52 | 349.14 | 316.55 | 4 |  | 12.75
BRASS SIGHT GLASS
6520185 | Sight Glass 1" F x M NPT Thread w/ 1/2" Restricted Orifice | 25.96 | 19.47 | 17.65 | 40 |  | 1.75
6520187 | Sight Glass 1" F x M w/o Restricted Orifice | 25.96 | 19.47 | 17.65 | 40 |  | 1.65
6520186 | Sight Glass 1-1/4" F x M w/o Restricted Orifice | 25.96 | 19.47 | 17.65 | 40 |  | 1.6
THREE-WAY VALVE
6520190 | 3 Way Gauge Valve 1/4" | 7.26 | 5.45 | 4.94 | 144 | 3600 | 0.45
BRASS BALL DRIP VALVE
6520180 | Ball Drip Valve 1/2" x 1/2" NPT Thread | 8.95 | 6.71 | 6.09 | 100 | 3600 | 0.41
6520179 | Ball Drip Valve 3/4" x 3/4" NPT Thread | 16.83 | 12.62 | 11.44 | 240 |  | 0.7
BRASS PRESSURE RELIEF VALVE
6520160 | Pressure Relief Valve 1/2" x 1/2" Adjust. 50-200 psi | 20.5 | 15.38 | 13.94 | 120 |  | 0.51
6520161 | Pressure Relief Valve 1/2" x 1/2" Pre-set 175 psi | 11.18 | 8.39 | 7.6 | 150 |  | 0.51
6520161 | Pressure Relief Valve 1/2" x 1/2" Pre-set 175 psi | 11.18 | 8.39 | 7.6 | 150 |  | 0.51
BRASS BOILER DRAIN
6520942 | Boiler Drain 1/2" CxC/MIP x 3/4" Hose Straight | 8.43 | 6.32 | 5.73 | 100 | 2400 | 0.44
6520941 | Boiler Drain 3/4" MIP x 3/4" 45° Hose | 9.61 | 7.21 | 6.53 | 100 | 2400 | 0.49
BRASS HOSE BIBB
6520936 | Hose Bibb 1/2" MIP x 3/4" Hose 1/4 Turn Ball | 8.73 | 6.55 | 5.94 | 100 | 2400 | 0.42
6520937 | Hose Bibb 3/4" MIP x 3/4" Hose 1/4 Turn Ball | 11.24 | 8.43 | 7.64 | 100 | 2400 | 0.44
6520175 | Union 1/2" x 3/32" Orifice Brass | 10.49 | 7.87 | 7.13 | 160 |  | 0.4
DRUM DRIP ASSEMBLIES
6520381T | Drum Drip Assembly Threaded Connections Black (Auxiliary Drain, Low Point Drain) | 102.6 | 76.95 | 69.77 | 6 |  | 9.02
6520380T | Drum Drip Assembly Threaded Connections Galvanized (Auxiliary Drain, Low Point Drain) | 104.03 | 78.02 | 70.74 | 6 |  | 8.83
TEST & DRAIN VALVES
6520181 | Test & Drain Valve 1" 5.6K (UL/FM) | 79.38 | 59.54 | 53.98 | 6 | 384 | 2.5
6520182-150 | Test & Drain Valve 1-1/2" 5.6K (UL/FM) | 157.3 | 117.98 | 106.96 | 6 | 288 | 8.05
6520182 | Test & Drain Valve 1-1/4" 5.6K (UL/FM) | 81.09 | 60.82 | 55.14 | 6 | 384 | 2.5
6520182-200 | Test & Drain Valve 2" 5.6K (UL/FM) | 162.95 | 122.21 | 110.81 | 4 | 96 | 6.65
6520181-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1" | 37.82 | 28.37 | 25.72 | 6 |  | 3.5
6520182-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/4" | 54.87 | 41.15 | 37.31 | 6 |  | 3.5
6520182-150-PRVKIT | Pressure Relief Kit for Test & Drain Valve 1-1/2" | 53.7 | 40.28 | 36.52 | 6 |  | 6
6520182-200-PRVKIT | Pressure Relief Kit for Test & Drain Valve 2" | 72.58 | 54.44 | 49.35 | 6 |  | 7.5
6520181-PRV | Test & Drain Valve 1" w/ Pressure Relief (UL/FM) | 122.5 | 91.88 | 83.3 | 6 |  | 3.5
6520182-PRV | Test & Drain Valve 1-1/4" w/ Pressure Relief (UL/FM) | 135.96 | 101.97 | 92.45 | 6 |  | 6
6520182-150-PRV | Test & Drain Valve 1-1/2" w/ Pressure Relief (UL/FM) | 218.53 | 163.9 | 148.6 | 6 |  | 6
6520182-200-PRV | Test & Drain Valve 2" w/ Pressure Relief (UL/FM) | 245.67 | 184.25 | 167.06 | 6 |  | 11.25
BRASS BALL VALVES NPT 400#
6520422 | Ball Valve 400# 1/2" NPT Thread Standard Port (UL) | 6.6 | 4.95 | 4.49 | 120 | 5760 | 0.38
6520423 | Ball Valve 400# 3/4" NPT Thread Standard Port (UL) | 9.66 | 7.25 | 6.57 | 90 | 4320 | 0.55
6520424 | Ball Valve 400# 1" NPT Thread Standard Port (UL) | 13.9 | 10.43 | 9.45 | 48 | 2304 | 0.92
6520425 | Ball Valve 400# 1-1/4" NPT Thread Standard Port (UL) | 22.44 | 16.83 | 15.26 | 36 | 1728 | 1.33
6520426 | Ball Valve 400# 1-1/2" NPT Thread Standard Port (UL) | 31.55 | 23.66 | 21.45 | 24 | 1152 | 2.25
6520427 | Ball Valve 400# 2" NPT Thread Standard Port (UL) | 43.98 | 32.99 | 29.91 | 12 | 576 | 4.2
BRASS BALL VALVES 600#
6520401UL | Ball Valve 600# 3/8" NPT Thread Full Port (UL/CGA) | 6.93 | 5.2 | 4.71 | 120 | 5760 | 0.33
6520400UL | Ball Valve 600# 1/4" NPT Thread Full Port (UL/CGA) | 6.93 | 5.2 | 4.71 | 120 | 5760 | 0.33
6520402UL | Ball Valve 600# 1/2" NPT Thread Full Port (UL/CGA) | 7.15 | 5.36 | 4.86 | 100 | 4800 | 0.49
6520403UL | Ball Valve 600# 3/4" NPT Thread Full Port (UL/CGA) | 11.99 | 8.99 | 8.15 | 60 | 2880 | 0.8
6520404UL | Ball Valve 600# 1" NPT Thread Full Port (UL/CGA) | 17.64 | 13.23 | 12 | 36 | 1728 | 1.1
6520405UL | Ball Valve 600# 1-1/4" NPT Thread Full Port (UL/CGA) | 29.83 | 22.37 | 20.28 | 24 | 1152 | 1.83
6520406UL | Ball Valve 600# 1-1/2" NPT Thread Full Port (UL/CGA) | 39.42 | 29.57 | 26.81 | 16 | 768 | 2.5
6520407UL | Ball Valve 600# 2" NPT Thread Full Port (UL/CGA) | 63.12 | 47.34 | 42.92 | 8 | 384 | 4.2
6520408UL | Ball Valve 600# 2-1/2" NPT Thread Full Port (UL/CGA) | 179.81 | 134.86 | 122.27 | 4 | 192 | 7
6520409UL | Ball Valve 600# 3" NPT Thread Full Port (UL/CGA) | 272.6 | 204.45 | 185.37 | 4 | 192 | 11.67
6520410UL | Ball Valve 600# 4" NPT Thread Full Port (UL/CGA) | 404.36 | 303.27 | 274.96 | 2 | 96 | 19.25
BRASS BALL VALVES NPT 600# LEAD FREE
6520690-050 | Ball Valve Lead Free 600# 1/2" NPT Thread Full Port (UL/CSA) | 8.16 | 6.12 | 5.55 | 100 | 4800 | 0.49
6520690-075 | Ball Valve Lead Free 600# 3/4" NPT Thread Full Port (UL/CSA) | 13.68 | 10.26 | 9.3 | 60 | 2880 | 0.8
6520690-100 | Ball Valve Lead Free 600# 1" NPT Thread Full Port (UL/CSA) | 20.86 | 15.65 | 14.18 | 36 | 1728 | 1.1
6520690-125 | Ball Valve Lead Free 600# 1-1/4" NPT Thread Full Port (UL/CSA) | 34.21 | 25.66 | 23.26 | 24 | 1152 | 1.83
6520690-150 | Ball Valve Lead Free 600# 1-1/2" NPT Thread Full Port (UL/CSA) | 45.06 | 33.8 | 30.64 | 16 | 768 | 2.5
6520690-200 | Ball Valve Lead Free 600# 2" NPT Thread Full Port (UL/CSA) | 74.98 | 56.24 | 50.99 | 8 | 384 | 4.2
6520690-250 | Ball Valve Lead Free 600# 2-1/2" NPT Thread Full Port (UL/CSA) | 213.58 | 160.19 | 145.23 | 4 | 192 | 7
6520690-300 | Ball Valve Lead Free 600# 3" NPT Thread Full Port (UL/CSA) | 323.86 | 242.9 | 220.22 | 4 | 192 | 11.67
6520690-400 | Ball Valve Lead Free 600# 4" NPT Thread Full Port (UL/CSA) | 480.28 | 360.21 | 326.59 | 2 | 96 | 19.25